|  | Maharashtra State Electricity Distribution Co. Ltd |
| --- | --- |

Renewable Energy Generating System

Annexure-I

(Commissioning Report for RE System)

| S No. | Particulars | As commissioned |
| --- | --- | --- |
| 1 | Name of the Consumer | {{ consumer_name }} |
| 2 | Consumer Number | {{ consumer_number }} |
| 3 | Mobile Number | {{ consumer_contact_number }} |
| 4 | E-mail | {{ consumer_email }} |
| 5 | Address of Installation | {{ consumer_address }} |
| 6 | RE Arrangement Type | Net Metering Arrangement |
| 7 | RE Source | Solar |
| 8 | Sanctioned Capacity (KW) | {{ sanction_capacity_kw }} KW |
| 9 | Capacity Type | Rooftop |
| 10 | Project Model | Capex |
| 11 | RE installed Capacity (Rooftop)(KW) | {{ system_capacity_kw }} KW |
| 12 | RE installed Capacity (Rooftop + Ground) (KW) | NA |
| 13 | RE installed Capacity (Ground)(KW) | NA |
| 14 | Installation Date | {{ installation_date }} |
| 15 | RE installed Capacity (Total) (KW) Inverter Capacity (KW) Inverter Make No of PV Modules Module Capacity (KW) | {{ inverter_capacity_kw }} {{ inverter_make_and_model }} {{ num_pv_modules }} {{ total_module_capacity_kwp }} |

To be uploaded separately :

- Self-certification of safety of the installation of the RTS system along with the test report of the Licensed Electrical Contractor (Proforma-A).

- Electrical Inspector permission if System is above 200 KW (Mandatory if system is above 200KW only)

- Third party leasing agreement if the Model selected is RESCO.

- Photograph of the system commissioned.

| Date: {{ today_date }} | {{ consumer_signature_image }} |
| --- | --- |

|  | Maharashtra State Electricity Distribution Co. Ltd |
| --- | --- |

Renewable Energy Generating System

Proforma-A

COMMISSIONING REPORT (PROVISIONAL) FOR GRID CONNECTED SOLAR

PHOTOVOLTAIC POWER PLANT (with Net-metering facility)

Certified that a Grid Connected SPV Power Plant of {{ system_capacity_kw }} KWp capacity has been installed at the site {{ consumer_address }}, District {{ city }} of MAHARASHTRA.

The system was installed by {{ agency_name }} on {{ performance_check_date }} and is as per BIS/MNRE specifications. The system has been checked for its performance on

{{ performance_check_date }} with  the installation of a bi-directional meter, and it is working satisfactorily.

| {{ consumer_signature_image }} |  |
| --- | --- |
| Signature of the beneficiary |  |
| {{ agency_stamp_image }} |  |
| Signature of the agency With name, seal and date |  |
| Signature of the MSEDCL Officer With name, date and seal |  |